ME1: Measurement Equation
Of a (Polarized) Point Source
Objectives:
Understanding the basic ME of a point source
Understanding how the implicit MEs of legacy packages map to the full ME
Understanding how observational effects show up in the ME

---
M.E. of a (polarized)
point source
V_{pq} = J_p B J^{ %dagger }_q
Vpq:	visibility measured by ifr p-q.
Jp Jq:	Jones matrices of antennas p, q.
B:	brightness matrix of source.
†: complex conjugate & transpose operator.
All terms are 2x2 complex matrices!

---
In other words...
left ( matrix{XX # XY ## YX # YY} right ) = left ( matrix{j_{xx(p)} # j_{xy(p)} ## j_{yx(p)} # j_{yy(p)} } right ) left ( matrix{I+Q # U- %i V ## U + %i V # I-Q} right ) left ( matrix{bar j_{xx(q)} # bar j_{yx(q)} ## bar j_{xy(q)} # bar j_{yy(l)} } right )

---
Jones' Anatomy
The Jones matrix Jp represents all effects along the signal propagation path associated with antenna p.
Is a matrix product of Jones matrices corresponding to “individual” effects:
     Jp = J1,p J2,p ... Jn,p
The order of the J terms corresponds to the physical order of the effects. In general, the terms don't commute!

---
Why is this great?
V_{pq} = J_p B J^{ %dagger }_q newline V_{pq} = J_{1,p}J_{2,p}...J_{n,p} B (J_{1,q}J_{2,q}...J_{n,q})^{%dagger} newline V_{pq} = J_{1,p}J_{2,p}...J_{n,p} B J^{%dagger}_{n,q}J^{%dagger}_{n-1,q}...J^{%dagger}_{1,q}
A complete and mathematically elegant framework for describing signal propagation effects.

---
Why is this even greater?
Most effects have a very simple Jones representation:
"gain:" ~ bold G =left ( matrix{g_x # 0 ## 0 # g_y} right ) ~~~~ "phase delay": ~ left ( matrix{e^{%i %phi} # 0 ## 0 # e^{%i %phi}} right ) equiv e^{%i %phi} newline alignc "rotation": ~ left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) equiv "Rot"(%gamma) newline [ ~ "e.g. Faraday rotation": ~ bold F = "Rot"("RM" over %nu^2) ~ ] newline alignc "receptor cross-leakage": ~ bold D = left ( matrix{1 # d_{xy} ## d_{yx} # 1} right )

---
A perfect instrument
{bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q newline newline size 24 { {bold K}_p ~ "is a 'phase shift' term, and is a " ital "scalar" " Jones matrix:" } newline size 24 { {bold K}_p = left ( matrix{e^{-%i %phi_p} # 0 ## 0 # e^{-%i %phi_p}} right ) equiv e^{-%i %phi_p} }newline alignl size 24 { "'Antenna phase' " %phi_p " is a function of source position"} newline alignl size 24 { (%l,%m) " and antenna coordinates " (u,v,w)_p: } newline size 24 { %phi_p = {{2 %pi %i %nu } over c} (u_p %l + v_p %m + w_p (%n-1)) } newline size 20 { "(where " %n=sqrt {1-%l^2-%m^2} ")" }

---
The (familiar?)
scalar case
size 24 { "'Classic' (scalar) visibility of a source:"} newline v_pq = I e^{ %i %phi_pq} newline size 24 { %phi_{pq} " is 'interferometer phase':" } newline size 24 { %phi_pq = {{2 %pi %i %nu } over c} (u_pq %l + v_pq %m + w_pq (%n-1)) }

---
The (familiar?)
scalar case
u_pq = u_q - u_p, ~ v_pq = v_q - v_p,~ w_pq = w_q - w_p newline drarrow ~ %phi_pq = %phi_q - %phi_p size 24 ", and " ~ e^{%i %phi_pq} = e^{%i%phi_q} e^{-%i%phi_p} newline drarrow ~ v_pq = e^{-%i%phi_p}I(e^{-%i%phi_q})^%dagger newline newline size 24 "compare this to:" newline {bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q, newline size 24 { "with " ~ bold B = left ( matrix{I # 0 ## 0 # I} right )}
(note that scalar matrices commute with everything)

---
Introducing gain errors
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q newline newline {bold G}_p = left ( matrix{g_{x,p} # 0 ## 0 # g_{y,p} } right ) newline newline alignc size 24 "or in scalar form:" newline v_{xx,pq} = (I+Q) g_{x,p}g_{x,q}e^{%i %phi_{pq}} newline v_{yy,pq} = (I-Q) g_{y,p}g_{y,q}e^{%i %phi_{pq}} newline ... newline size 24 { alignc "(diagonal matrices commute among themselves)" }