Day 1: MeqTree &
Measurement Equation Flyover

---
The Team
World-famous guest lecturer
  - new one every day
Oleg: The Talking Head
Tony: The Invisible Talking Head
Maaijke, Sarod: The E.R.T.
Jan: Master Of Peppermints
  - questions welcome at any time
The BOC (Beer Organizing Committee):
Oleg, Panos, Parisa, Sarod, Stephen, Vibor

---
The Measurement Equation:
Putting the “Meq” into MeqTrees!
The Measurement Equation tells you what you can expect to observe with an interferometer, given a sky and the properties of your instrument.
Absolutely crucial for simulating and calibrating the next generation of radio telescopes; everything literally revolves around it.
Therefore: no-one gets any beer tonight until we achieve full harmony and understanding!

---
Quick Poll...
1. Radio interferometry...
  - A. heard of it
  - B. basic knowledge
  - C. do it all the time
  - D. I was doing it when Oleg was in diapers

---
Last Year's Results
1. Radio interferometry...
  - [ 1] heard of it
  - [11] basic knowledge
  - [ 6] do it all the time
  - [ 3] I was doing it when Oleg was in diapers
Therefore...
...you know practically everything about the Measurement Equation!

---
And Another One...
3. The Measurement Equation...
  - A. never heard of it
  - B. heard of it
  - C. know what it looks like, never actually used it
  - D. know it pretty well
  - E. I use Jones matrices to do my taxes

---
On The Other Hand...
3. The Measurement Equation...
  - [ 1] never heard of it
  - [ 2] heard of it
  - [10] know what it looks like, never actually used it
  - [ 6] know it pretty well
  - [ 2] I use Jones matrices to do my taxes
Conclusion:
The ME is no longer one of these unknown knowns -- the things we don't know we know -- that Donald Rumsfeld didn't know he knew.

---
A Wafer-Thin Slice of Physics:
EM Field Propagation
size 24 { "Pick an " xyz " frame with " z " along the direction of propagation." } newline size 24 { "The EM field can be described by the complex vector "vec e = left ( binom e_x e_y right ) } newline size 24 { "The fundamental assumption is " bold "LINEARITY": } newline alignl size 24 { "1. Propagation through a medium is linear" } newline alignl size 24 { ~~~ drarrow " can be fully described by a 2x2 complex matrix:"} newline size 24 { vec e' = bold J vec e ~~~"i.e."~~~ size 24 { left ( binom {e'_x} {e'_y} right ) = left ( matrix{<?> # <?> ## <?> # <?>} right ) left ( binom e_x e_y right ) } } newline alignl size 24 { "2. Receptor voltages " vec v = left ( binom{v_x}{v_y} right ) " are also linear w.r.t. " vec e } newline size 24 { drarrow ~~vec v = bold J vec e }

---
A Wafer-Thin Slice of Physics:
Jones Matrices
alignl size 24 { "* " bold J " is called a " italic "Jones matrix." } newline alignl size 24 { "* " bold J " is obviously cumulative: " } newline size 24 { vec v = {bold J}_n ( {bold J}_{n-1} ( ... {bold J}_1 vec e )) = (prod csub {i=n} csup 1 {bold J}_i ) vec e = {bold J} vec e } newline size 24 { " where " {bold J}_1 ... {bold J}_n " describes the full signal path." } newline size 24 { "* Do remember that matrices, in general, do not commute."} newline newline size 24 { "NB: What if something is non-linear?.." } newline alignl size 24 { "...we can also write down an equation: " vec v = size 36 %jcall (vec e) } newline alignr size 24 { "...but this is to be avoided if at all possible." }

---
A Wafer-Thin Slice of Physics:
Correlations & Visibilities
size 24 { "An interferometer measures " ital "coherencies" " btw vectors " {vec e}_p,{vec e}_q:} newline size 24 { e_xx = langle e_px e_qx^%star rangle, e_xy = langle e_px e_qy^%star rangle,e_yx = langle e_py e_qx^%star rangle, e_yy = langle e_py e_qy^%star rangle } newline size 24 { "It is convenient to represent these as a matrix product:" } newline size 24 { {bold V}_pq = langle {vec e}_p {vec e}^{%dagger}_q rangle = langle left ( stack{e_px # e_py} right ) (e^%star_qx`e^%star_qy) rangle = left ( matrix{e_xx # e_xy ## e_yx # e_yy} right ) } newline size 24 { "(" langle ` rangle ": time/freq averaging; " %dagger ": conjugate-and-transpose)" } newline size 24 { {bold V}_pq " is also called the " ital "visibility matrix." } newline newline alignl size 24 { italic "Now let's assume that all radiation arrives from a single point," } newline alignl size 24 { italic "and designate the \"source\" E.M. vector by " vec e. }

---
A Wafer-Thin Slice of Physics:
The M.E. Emerges
alignl size 24 { "Antennas " p,q " then measure: " {vec v}_p = {bold J}_p vec e, ~~ {vec v}_q = {bold J}_q vec e } newline alignl size 24 { "where " {bold J}_p,{bold J}_q " are Jones matrices describing the signal paths"} newline alignl size 24 { "from the source to the antennas." } newline size 24 { "Then " {bold V}_pq = langle ({bold J}_p vec e ) ({bold J}_q vec e)^%dagger rangle = langle {bold J}_p (vec e {vec e}^{%dagger} ) {bold J}_q^%dagger rangle = {bold J}_p langle vec e {vec e}^{%dagger} rangle {bold J}_q^%dagger } newline size 20 { "(making use of " (bold AB)^%dagger = {bold B}^%dagger{bold A}^%dagger ", and " underline "assuming" ~ {bold J}_p " is constant over " langle rangle ")" } newline size 24 { "The inner quantity is known as the " ital "source coherency" ":" } newline size 24 { bold B = langle vec e {vec e}^%dagger rangle = 1 over 2 left ( matrix {I+Q # U+-%i V ## U-+%i V # I-Q } right ) ~ %lrarrow ~ (I,Q,U,V) } newline size 24 { "which we can also call the " italic "source brightness." " Thus:" } newline {bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q

---
And That's The Measurement Equation!
{bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q
Or in more pragmatic terms:
left ( matrix{XX # XY ## YX # YY} right ) overbrace "measured" = left ( matrix{j_{xx(p)} # j_{xy(p)} ## j_{yx(p)} # j_{yy(p)} } right ) overbrace {size 24 bold J}_p {1 over 2 left ( matrix{I+Q#U+%i V##U-%i V#I-Q} right )} overbrace "source" left ( matrix{j^%star_{xx(q)} # j^%star_{yx(q)} ## j^%star_{xy(q)} # j^%star_{yy(q)} } right ) overbrace {size 24 bold J}^{%dagger}_q
NB: it is also possible to write the ME with a circular polarization basis (RR, LL, etc.) We'll use linear polarization throughout.

---
Accumulating Jones Terms
size 24 { "If " {bold J}_p,{bold J}_q " are products of Jones matrices: " } newline size 24 { {bold J}_p = {bold J}_pn ... {bold J}_p1, ~~ {bold J}_q = {bold J}_qm ... {bold J}_q1 } newline size 24 { "Since " (bold AB)^%dagger = {bold B}^{%dagger}{bold A}^{%dagger}, " the M.E. becomes:" } newline {bold V}_pq = {bold J}_pn ... {bold J}_p2 {bold J}_p1 bold B {bold J}^{%dagger}_q1 {bold J}^{%dagger}_q2 ... {bold J}^{%dagger}_qm newline newline size 24 { "or in the \"onion form\":" } newline newline {bold V}_pq = {bold J}_pn ( ... ( {bold J}_p2 ( {bold J}_p1 bold B {bold J}^{%dagger}_q1 ) {bold J}^{%dagger}_q2 ) ... ) {bold J}^{%dagger}_qm

---
Jones' Anatomy
Jp is “cumulative”: more effects correspond to additional multiplicative Jones terms.
Therefore, the “total” Jp is a matrix product of a “Jones chain” of individual effects:
     Jp = Jpn Jpn-1 ... Jp1
The order of the J terms corresponds to the physical order of the effects. In general, the matrices don't commute!

---
Why is this great?
A complete and mathematically elegant framework for describing all kinds of signal propagation effects.
...including those at the antenna, e.g.:
  - beam & receiver gain
  - dipole rotation
  - receptor cross-leakage
Effortlessly incorporates polarization:
  - think in terms of a B matrix and never worry about polarization again.
Applies with equal ease to heterogeneous arrays, by using different Jones chains.

---
Why is this even greater?
Most effects have a very simple Jones representation:
"gain:" ~ bold G = { left ( matrix{g_x # 0 ## 0 # g_y} right ) } overbrace ital "diagonal matrix" ~~~~ "phase delay": ~ { left ( matrix{e^{-%i %phi} # 0 ## 0 # e^{-%i %phi}} right ) } overbrace ital "scalar matrix" equiv e^{-%i %phi} newline alignc "rotation:" ~ left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) equiv " Rot"(%gamma) ital size 18 " (rotation matrix)" newline [ ~ "e.g. Faraday rotation": ~ bold F = "Rot"("RM" over %nu^2) ~ ] newline alignc "receptor cross-leakage": ~ bold D = left ( matrix{1 # d ## -d # 1} right ) ~~~ "(or Rot"(d)"?)"

---
Three Layers Of Intuition
Physical: e.g. beam gain, parallactic angle
  - beam pattern of X and Y dipoles different, causes polarization of off-center sources
  - P.A. rotates polarization angle
Geometrical: stretching, rotation
  - do not commute...
Mathematical: matrix properties
size 24 { bold G = left ( matrix{g_x # 0 ## 0 # g_y} right ) " and " bold P = left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) " do not commute."}

---
ME ME ME
The general formulation above is “The Measurement Equation” (of a generic radio interferometer...)
When we want to simulate a specific instrument, we put specific Jones terms into the ME, and derive a measurement equation for that instrument.
We then implement that specific m.e. in software (e.g. with MeqTrees)
Existing packages implicitly use specific m.e.'s of their own.

---
Observing a point source
with a perfect instrument
size 24 { "Even w/o instrumental effects, we still have geometry, so: " } newline {bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q newline size 24 { {bold K}_p " is the " italic "phase shift" " term, a " ital bold "scalar" " Jones matrix:" } newline size 24 { {bold K}_p = left ( matrix{e^{-%i %phi_p} # 0 ## 0 # e^{-%i %phi_p}} right ) equiv e^{-%i %phi_p} } newline alignl size 24 { italic "Antenna phase " %phi_p " accounts for the pathlength difference: " } newline size 24 { %phi_p = 2%pi (u_p %l + v_p %m + w_p (%n-1)) } newline alignl size 24 { "where " u_p,v_p,w_p " are " ital "antenna coordinates" " (in wavelengths)," } newline alignl size 24 { "and " %l,%m,%n " are the direction cosines for the source."} newline size 20 { ( %n=sqrt {1-%l^2-%m^2} ", for \"small\" fields " %n toward 1. ) }

---
The (familiar?)
Scalar Case
size 24 { "'Classic' (scalar) visibility of a source:"} newline v_pq = I e^{ - %i %phi_pq} newline size 24 { "where " %phi_{pq} " is the " italic "interferometer phase difference:"} newline size 24 { %phi_pq = 2%pi (u_pq %l + v_pq %m + w_pq (%n-1)) } newline newline alignl size 24 { "Baseline coordinates " {vec u}_pq = (u_pq,v_pq,w_pq) } newline size 24 { "have a very simple relationship to antenna coordinates." } newline

---
Antenna UVWs
and Antenna Phase
size 24 { "Pick an arbitrary reference point " O.} newline size 24 { {vec u}_p equiv vec{OP}, ~ {vec u}_q equiv vec{OQ}, ~ {vec u}_pq equiv vec{QP} } newline size 24 { "Then regardless of which " O " we picked,"} newline size 24 { {vec u}_pq = {vec u}_p - {vec u}_q, " i.e." } newline size 24 { u_pq = u_p - u_q,~ v_pq = v_p - v_q,~ w_pq = w_p - w_q} newline size 24 { "and for phases: " %phi_pq = %phi_p - %phi_q. } newline size 24 { drarrow ~ e^{-%i %phi_pq} = e^{-%i(%phi_p-%phi_q)}=e^{-%i%phi_p} e^{%i%phi_q} = e^{-%i%phi_p} (e^{-%i%phi_q})^%star }
{vec u}_pq
Q
P
{vec u}_p
{vec u}_q
size 20 { "(And if you're used to thinking in terms of closure phases:" } newline size 24 { %phi_pq+%phi_qr+%phi_rp = %phi_p-%phi_q+%phi_q-%phi_r+%phi_r-%phi_p = 0 ~ ")" }
O

---
The (familiar?)
Scalar Case
size 24 { "We can decompose each " ital "interferometer" " phase term"} newline size 24 { "into a pair of " ital "antenna" " phases:"} newline v_pq = e^{-%i%phi_p}I(e^{-%i%phi_q})^%star newline newline size 24 "compare this to:" newline {bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q, newline size 24 { "with " ~ bold B = 1 over 2 left ( matrix{I # 0 ## 0 # I} right )}

---
K: A Jones In Its Own Right
The interferometer phase term is traditionally considered separately; however, it fits the Jones formalism like a glove.
K combines two physical effects:
  - pathlength difference
  - time delays (i.e. fringe stopping)
Scalar matrices commute with everything, so we're allowed to “merge” these two effects and shift the resulting K's around.
NB: K is scalar only for co-located receivers:
  - moral: keep your dipoles together!
Forget about the Fourier Transform for now...

---
The ME & MeqTrees
What do we need to do?
Simulation
  - build an ME to model your simulated instrument/observation
  - evaluate this ME over a frequency/time grid
  - store “model” visibilities to disk
Calibration (self-cal)
  - build an ME to model your observation
  - evaluate over frequency/time grid
  - compare to observed visibilities, and adjust model for best fit
  - optional: subtract model from data, store “residual” visibilities to disk

---
MeqTrees:
LEGO for numerical models
An ME gives us a numerical model of an observation
MeqTrees is a toolkit for constructing and running arbitrary numerical models
A numerical model is based on mathematical expressions.
  - and that's where trees come in...
{bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q

---
A Basic Tree
Any mathematical expression can be represented by a tree.
f = %alpha*sin(b*x+c*y+1)
b
x
b
x
c
y
b
x
*
1
*
+
α
sin
*

---
The World Of Nodes
A single tree element is a node.
A parent node operates on its child nodes.
A node belongs to a class. This determines the kind of operation it performs
  - e.g.: Add, Multiply, Sin.
A leaf node has no children (“top” of tree)
A root node has no parents (“bottom” of tree)
A subtree is any complete part of a tree, rooted at a specific node.
  - a subtree evaluates some compound function of its leaf nodes.
A forest has many (1+) trees.

---
Our First Tree...
cd Workshop2008/Intro1
Run meqbrowser.py, press “Start” to “attach to a meqserver”.
From the menu, choose “TDL | Load & compile TDL script” (or just press Ctrl+T).
Select demo1-first-tree.py
Observe....

---
meqbrowser & meqserver
The GUI you're looking at is called the meqbrowser
There's also something called a meqserver aka “kernel”, which runs in a separate process and talks to the browser
Trees are built inside the meqserver...
  - ...according to commands from a TDL script, which is loaded by the browser.
  - a tree in the meqserver is like an “evaluation machine”
The browser provides a graphical representation of the trees in a meqserver.

---
Python?
4. Python...
A. never heard of it
B. vaguely familiar
C. I write Python scripts regularly
D. I develop Python packages
E. I'm Guido van Rossum

---
Last Year...
4. Python...
[ 1] never heard of it
[14] vaguely familiar
[ 5] I write Python scripts regularly
[ 1] I develop Python packages
[ 0] I'm Guido van Rossum

---
TDL
Tree Definition Language
TDL is Python
...with some “magic” objects for declaring trees.
ns.xxx declares a node named “xxx”
all nodes must have unique names
  - this is not the same thing as their class!
(ns.xxx << ...) binds the named node to a definition of what that node is and does.
TDL provides shortcuts for implicit naming and binding of intermediate nodes.

---
Running The Tree
From the “TDL Exec” drop-down, choose “test forest”
Observe...
From the “Bookmarks” menu, select “result of 'f'”
Observe...
A long way to go for a simple answer...

---
A More Interesting Tree
Load demo2-improved-tree.py.
Execute “test forest”
Look at Bookmarks | Result of 'f'.
And Bookmarks | Result of 'f1'
Observe the difference...
The crucial difference are the Meq.Time and Meq.Freq nodes.

---
Dealing In Functions
MeqTrees are designed for evaluating functions, not just single scalars.
size 24 "Start with the following expression:" newline size 24 { f = %alpha sin(xcos(2y)) } newline size 24 { "If " x " and " y " are functions of time " t " and frequency " %nu, " then" } newline size 24 { f(t,%nu) = %alpha sin ( x(t,%nu)cos(y(t,%nu)))} newline size 24 { "In our tree, we used " x(t,%nu)=t " and " y(t,%nu)=%nu, } newline size 24 { "thus ending up with" } newline size 24 { f(t,%nu) = %alpha sin ( t*cos%nu)} newline

---
Functions Everywhere
Most concepts we deal with are a function of something.
  - the visibility observed by an interferometer is a function of frequency and time.
  - images are functions of l,m (or RA/Dec, ...)
  - the Fourier Transform turns a function of l,m into a function of u,v.
Numerically, we represent a function by a set of values on some grid
size 24 { "e.g. for a set of " lbrace t_1 ... t_n rbrace " and " lbrace %nu_1 ... %nu_m rbrace, " we represent " f} newline size 24 { "as an " n times m " array " lbrace f_ij = f(t_i,%nu_j) rbrace }

---
Grids
Numerical code is often filled with for statements iterating over grids...
With MeqTrees, you instead build up a compound function (f) from its constituent parts...
...then you give it a grid, and get back the values of the function on that grid.
This happens at every level of the tree – every subtree can be considered to represent some function.

---
Supplying a Grid
Look at _test_forest
First we make a domain object.
  - here we use t and  from 1 to 10
Then, we make a cells object. This represents our grid.
  - in this case, we specify a regular 100x100 grid over the given domain
Then, we put the cells into a request.
We execute the root node with the given request.
Try changing the grid...

---
Exercise 1: Basic Trees
r = sqrt(t^2+%nu^2) newline C(t,%nu) = cos(r)e^{-{{lline r rline} over 30 }} newline f(t,%nu) = C(t,%nu) + lline C(t,%nu) rline
Implement tree for f above (use demo2 as starting point)
Evaluate over a 100x100 grid, with time/freq from [-30,30]
Plot results & cross-sections

---
A Node's Life
A node just sits there, until its parent gives it a request
  - in the case of a root node, the request is supplied from somewhere else, via execute()
If it has children, it sends the request up to its children (by calling their execute())
A leaf node (Freq, Time, Constant) can evaluate a request directly and return a result.
Once a parent has collected results from its children, it performs some operation on them – according to its class -- and returns a result of its own.

---
Botany For Beginners
Each node has a state record. You can see it by clicking on a node. This tells you way more than you wanted to know about that node.
The request field contains the most recently executed request.
Note that just about data object in the system is a record
  - or at least can be viewed as a record
request.cells contains the grid of the request.
  - also the domain, cell sizes, and other stuff...

---
The Result Cache
cache.result contains the last result returned by the node.
Important for two reasons:
lets you see what's been going on in the tree;
speeds things up, because often intermediate results can be reused.
In real life, a tree deals in millions of values, so caching everything would use too much memory;
nodes are smart enough to cache only those results that are actually reused.
For small demos, having everything cached is instructive, so we change the cache policy...

---
Dissecting a Result
A Result object represents a real or complex-valued function on an N-dimensional real grid.
It contains a copy of the Cells, giving the grid.
The function value is found inside a VellSet:
  - as result.vellsets[0].value
  - the value is a Vells object -- a glorified array
  - VellSets can also contain optional flags and derivatives, but we won't be meeting them soon.
A Result with one VellSet ([0]) represents a scalar function, but later on we'll meet vector and tensor functions.
size 24 { "e.g. " vec f(t,%nu) = (f_1(t,%nu),f_2(t,%nu),f_3(t,%nu)) }

---
The Priciple of
Informational Greediness
SKA source subtraction requires 47 million laptops (J. Bregman):
  - SKA a contributor to global warming?
Redundant computations and redundant information should therefore be avoided as much as possible
MeqTrees does a lot of this for you

---
P.I.G. In Essense
A Vells may contain only as many axes as actually needed to represent the function.
E.g. for an NxM grid, a node may return a result with an NxM Vells, or an Nx1 Vells, or an 1xM Vells, or even a 1x1 Vells
  - Nx1 is the same thing as N
  - but 1xM is not the same thing as M – the order of the axes is fixed.
We refer to the missing axes as collapsed. A collapsed axis simply means that the function is NOT variable over that dimension, i.e. not variable in freq or time or whatever.

---
P.I.G. In Action
The node knows its function best...
  - some nodes return constant values
  - some nodes return things variable in time only
  - some nodes return things variable in frequency
When you combine an Nx1 (i.e. time-variable only) value with an 1xM (freq-variable only) value in, e.g., a Multiply node, the result is NxM.
The tree does the “right” thing regardless.
So in fact you don't need to worry about this at all...
  - unless you're Tony;
  - unless you're optimizing for calculations.

---
Node Names & Qualifiers
size 24 {"Let's make a Fourier series:"} newline size 24 { f(x,y) = sum csub {k=-n} csup n sum csub {l=-n} csup n f_{kl}(x,y) = sum csub {k=-n} csup n sum csub {l=-n} csup n e^{-2%pi%i(kx+ly)} }
Load Intro1/demo3-quals.py
This makes a tree to sum the series above.
  - note how we create nodes “f:k:l” to represent fkl
  - note how n became a GUI option
  - We use Python list comprehension and the *-syntax to specify a large number of children with one compact statement.

---
Exercise 2: A Fourier Series
size 24 {"Let's add an extra term:"} newline size 24 { f(x,y) = sum csub {k=-n} csup n sum csub {l=-n} csup n e^{%i(ak+bl)}e^{-2%pi%i(ix+jy)} }
Start with Intro1/demo3-quals.py
Modify it to compute the series above.
Make a and b GUI options, with possible values of, e.g., [0, 5, 10].
What have we demonstrated?

---
Learning More
See wiki:
  - http://www.astron.nl/meqwiki
  - for not-quite-complete documentation.
Tony Willis has prepared a good introduction, including a number of tutorial videos: http://www.astron.nl/meqwiki/MeqTreesIntroduction
The (unfinished) tdl-companion.pdf manual...

---
Building a Tree
for a measurement equation
{bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q
See Intro1/demo4-predict-ps.py
The Meq.MatrixMultiply node implements matrix multiplication.
We repeat this for all interferometers (all p-q pairs), in a for loop.

---
Building a Tree:
Creating a B Matrix
bold B = 1 over 2 left ( matrix{I+Q # U+ %i V ## U - %i V # I-Q} right )
The Meq.Matrix22 shortcut creates a matrix from four children (using a Meq.Composer node).
IQUV's will be hardwired constants (for now)

---
Building a Tree:
VisPhaseShift
The Meq.VisPhaseShift node computes the a phase term as follows:
Takes two “vector” children for uvw's (in meters) and lmn's.
The Meq.ConjTranspose shortcut implements the “†” operation.
We can explicitly form up an (l,m,n-1) vector using a Meq.Composer node.
But where do we get the uvw's?
size 24 { %PHI(u,v,w,%l,%m,%n;%nu) = exp(-{{2%pi%i%nu} over c}(u%l+v%m+w%n)) }

---
Building a Tree:
Where to get UVWs?
Where do uvw's come from?
uvw's can be computed by a Meq.UVW node from first principles:
  - antenna positions (from MS)
  - phase centre RA/Dec: (from MS)
  - time
...or can be read from the Measurement Set.
We used to prefer doing it the former way, but that can lead to inconsistencies between the simulation and the imager.
Now we prefer reading them from the MS.

---
Intermezzo: Visibility Data &
AIPS++ Measurement Sets

---
AIPS++...
2. AIPS++...
  - [5] A. heard of it
  - [2] B. tried to run it once
  - [9] C. succeeded in running it once
  - [5] D. have used it in anger
  - [0] E. invented it
AIPS++ is making great progress: at the previous workshop we had “tried” ≈ “succeeded”
  - (and one inventor that owned up to it all)

---
On a Related Note...
2a. Reduction package of choice:
  - [7] Classic AIPS
  - [3] AIPS++
  - [2] Miriad
  - [1] MeqTrees!!!
  - [1] NEWSTAR
  - [1] MabCal

---
Working With
Visibility Data
MeqTrees interface with AIPS++ Measurement Sets
  - an MS is a container for visibility data + metadata
For calibration, you already have an MS presumably
  - can be imported from UVFITS, etc.
For simulations, an “empty” MS has to be pre-fabricated
  - e.g. Workshop2008/demo.MS
  - see Workshop2008/demo_sim.g script

---
VLA In Space
(About demo.MS)
This contains 27 antennas in VLA-C configuration...
  - ...but blown up by a factor of 10
So the max baseline is ~30km
8 hours observation, 5 minute sampling, 96 timeslots
32 frequency channels of 16MHz each, from 800MHz to 1.31GHz
Four polarizations: XX XY YX YY
One pointing

---
An MS Is A “Skeleton”
An MS provides a time/frequency grid (e.g., for use in simulations)
  - thus, “skeleton”: we ignore the data in the MS (and write our own)
Sink nodes turn this grid into a request and send it up the tree.
  - one Sink per interferometer
When a result comes back, this can be written out to a visibility column in the MS.
MSs are processed in chunks of time called “tiles”.

---
Building a Tree:
Sinks & Spigots
A Spigot node reads data from an MS, and returns it (as a function of freq/time...)
  - this can be the UVWs
  - but can also be observed visibilities (later...)
A Sink node writes data to an MS
  - model visibilities, in this case
Typically, we create one Spigot/Sink per interferometer

---
Building a Tree:
Writing the data
VisTile is an intermediate uv data layer (don't want to be locked into MSs forever...)
The I/O record maps MS columns to VisTile
Sinks & Spigots map tile columns to trees
Spigot
Sink
DATA
MS columns
MODEL_DATA
CORRECTED_DATA
??
VisTile
DATA
PREDICT
RESIDUALS
req.input
req.output
Spigot
init
Sink
init

---
Building a Tree:
Ready!
Load up the “K Jones” and “Inspector” bookmarks.
Run the tree by selecting “test forest”
  - observed bookmarks...
Now we want to make an image.

---
TDL Jobs:
Doing other useful stuff
_test_forest() is a “TDL job”.
More jobs can be added by defining functions called _tdl_job_foo(), all these will be automatically placed into the “Exec” menu.
Jobs can contain arbitrary Python code...
  - ...including calling the shell...
  - ...e.g. to run Glish and call the AIPS++ imager.

---
Introducing (Complex)
Gain Errors
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q newline newline {bold G}_p = left ( matrix{g_{x,p} # 0 ## 0 # g_{y,p} } right ) ~~~~~ size 24 { "(" g_x,g_y " may be complex)" } newline newline alignc size 24 "or in scalar form:" newline alignl size 24 { v_{xx,pq} = g_{x,p}g^%star_{x,q}e^{-%i %phi_{pq}} (I+Q)/2 } newline alignl size 24 { v_{yy,pq} = g_{y,p}g^%star_{y,q}e^{-%i %phi_{pq}} (I-Q)/2 } newline alignl size 24 { v_{xy,pq} = g_{x,p}g^%star_{y,q}e^{-%i %phi_{pq}} (U+%i V)/2 } newline alignl size 24 { v_{yx,pq} = g_{y,p}g^%star_{x,q}e^{-%i %phi_{pq}} (U-%i V)/2 }

---
Building a Tree With Gains
See ME1/demo5-predict-ps-gain.py
It's trivial to add extra Jones terms to Meq.MatrixMultiply.
The biggest effort is actually figuring out what numbers to plug in.
  - for now, let's assign a random, time-variable gain-phase to each antenna...

---
Time Variability
On the Cheap
"Something like: " g = e^{%iA sin (Bt+C)}
Remember that we get a “time grid” with each request.
The Meq.Time node returns f(t) = t, combine it with a Meq.Sin node to compute A*sin(Bt+C)
Generate random A,B,C's per dipole (using Python's random module)
Meq.Polar builds x*exp(iy)
Run the tree (load up the bookmarks).
Make a map.
  - note that we can now select a column to image, the new simulation is in DATA, the old one is in MODEL_DATA.

---
Exercise:
Instrumental Polarization
Use ME1/demo5-predict-ps-gain.py as a starting point.
Make the source unpolarized, with I=1Jy.
Make the gain amplitudes frequency-dependent (and reset the gain phases to 0):
{bold G}_p = left ( matrix{1+a_p(%nu-%nu_0) # 0 ## 0 # 1-a_p(%nu-%nu_0) } right )
  - pick random ap's in the range [1e-10,1e-9]
For 0, use a constant (ns.freq0<<8e+8)
Produce a per-channel map, look at Q fluxes.

---
But actually we try to
make things easier...

---
Frameworks
“Pure TDL” scripts tend to get rather complex and repetitive at the same time
We're reusing the same building blocks, e.g.:
  - point sources
  - Jones matrices
Good programming strives for maximum code reuse; good languages simplify this via modules, libraries, objects, etc.
TDL is Python, and Python provides excellent facilities for this.
We can make frameworks to make your life easier.

---
Meow
(Measurement Equation Object frameWork)
software
bloat

---
Meow
Object-oriented framework for putting together ME-related trees
Better than “pure TDL”
  - but still (kind of) low-level
  - for for the more advanced MeqTree user
Deals with objects such as Observation, IfrArray, SkyComponent, PointSource, GaussianSource, etc.
Base for higher-level frameworks

---
Siamese
(Simulations In Your Sleep)

---
Siamese
cd Siamese, load demo6-siamese.py
A framework for gluing together arbitrary sky models and Jones matrices
Three user levels:
  - developers write sky models and Jones modules
  - power users put these together into a simulator
  - astronomers push buttons
Siamese organizes option GUIs, automatically provides visualizations

---
Siamese Demo
cd Siamese, load demo6-siamese.py
In Sky model, select “grid_model”, 3 sources, grid step 2', flux 1 Jy.
Select “Use G Jones”, “periodically varying error”.
Build tree, load bookmark for “inspect:G”, run “simulate MS”
Make an image

---
Siamese Principles:
Three User Levels
A framework for gluing together arbitrary sky models and Jones matrices
  - Somebody (a developer) makes Jones terms
  - Somebody (a developer) makes sky models
  - Somebody (a power user) puts them together into a script, following the Siamese template
Siamese organizes option GUIs, automatically provides visualizations
You (a button-pushing astronomer) get a complete simulation tool

---
Sky Models
A “sky model” is essentially a list of sources (or “components”)
  - we'll only use point sources for now
  - other source types possible: gaussians, shapelets, images
Siamese includes a gridded_sky model for making pretty patterns
Alternative: Local Sky Model (LSM)
  - list of sources for an actual (or simulated) sky
  - can be generated from catalogs

---
A Sky Of Point Sources
size 24 {"Our instrument is linear, so for " N " point sources, we observe:"} newline {bold V}_pq = sum csub {s=1} csup N {bold V}_{pq}^{(s)} = sum csub s {bold J}^{(s)}_{pn}...{bold J}^{(s)}_{p1} {bold B}^{(s)} {bold J}^{(s)%dagger}_{q1} ... {bold J}^{(s)%dagger}_{qn} newline newline alignl size 24 {"In principle, every source " s " and antenna " p " is a separate "} newline alignl size 24 {"line-of-sight, with its own set of Jones matrices " {bold J}_{p1}^{(s)}...{bold J}_{pn}^{(s)}.} newline alignl size 24 {"In practice, some " {bold J} " terms are the same for directions,"} newline alignl size 24 {"so we end up with an M.E. that looks like, e.g.:"} newline newline {bold V}_pq = {bold G}_p underbrace size 12 binom "\"uv-plane" " effects\"" left ( sum csub s { {bold E}^{(s)}_p underbrace size 12 binom "\"image-plane" " effects\"" {{bold K}^{(s)}_p {bold B}^{(s)} {bold K}^{(s)%dagger}_{q}} underbrace {{bold X}_pq^(s)} {bold E}^{(s)%dagger}_{q} } right ) {bold G}^{%dagger}_q

---
A Sky Of Point Sources
{bold V}_pq = {bold G}_p underbrace size 12 binom "\"uv-plane" " effects\"" left ( sum csub s { {bold E}^{(s)}_p underbrace size 12 binom "\"image-plane" " effects\"" {bold X}_pq^(s) {bold E}^{(s)%dagger}_{q} } right ) {bold G}^{%dagger}_q newline size 24 { "intrinsic source coherency: " } {bold X}_pq^(s) = {bold K}^{(s)}_p {bold B}^{(s)} {bold K}^{(s)%dagger}_{q}
uv-plane effects apply to all directions (i.e. all sources) equally
  - e.g. receiver gain
image-plane effects depend on direction
  - e.g. beam pattern
source coherency is (in a sense) intrinsic, so we will often just use Xpq from here on.

---
Exercise:
Instrumental Polarization
Use oms_gain_models.py as a starting point
Make the gain amplitudes frequency-dependent
{bold G}_p = left ( matrix{1+a_p(%nu-%nu_0) # 0 ## 0 # 1-a_p(%nu-%nu_0) } right )
  - pick random ap's in the range [1e-10,1e-9]
Add this to demo6-siamese.py as an option to the G term.
Produce a per-channel map, look at Q fluxes.

---
Exercise:
Alt-Az Mounts
A “perfect” instrument has an equatorial mount, i.e. stationary sky.
With an alt-az mount, the sky rotates relative to each antenna, so we must add a rotation term to our M.E.
{bold V}_pq = {bold G}_p {bold P}_p {bold K}_p {bold B} {bold K}^ %dagger_q {bold P}^%dagger_q {bold G}^%dagger_q newline newline {bold P}_p = left ( matrix { cos %gamma_p # -sin %gamma_p ## sin %gamma_p # cos %gamma_p } right ) equiv "Rot" %gamma_p newline size 24 { %gamma_p: " parallactic angle for antenna " p }

---
Demo/Exercise:
Alt-Az Mounts
The P term is implemented by jones_par_angle.py.
Add this to demo6-siamese.py
Make a cross of polarized sources (Q/I ratio = .1), and make a map of Q and U fluxes.
{bold V}_pq = {bold G}_p {bold P}_p {bold K}_p {bold B} {bold K}^ %dagger_q {bold P}^%dagger_q {bold G}^%dagger_q newline size 24 { {bold P}_p = left ( matrix { cos %gamma_p # -sin %gamma_p ## sin %gamma_p # cos %gamma_p } right ) }