ME1: Measurement Equation
Of a (Polarized) Point Source
Objectives:
Aligning our terminology!
Mapping your existing intuition about interferometry onto ME concepts
Implementing some MEs using MeqTrees.

---
The Measurement Equation:
Putting the “Meq” into MeqTrees!
The Measurement Equation tells you what you can expect to observe with an interferometer, given a sky and the properties of your instrument.
Absolutely crucial for simulating and calibrating the next generation of radio telescopes; everything literally revolves around it.
Therefore: no-one gets any beer tonight until we achieve full harmony and understanding!

---
Survey Results...
1. Radio interferometry...
  - [0] heard of it
  - [2] basic knowledge
  - [4] do it all the time
  - [1] I was doing it when Oleg was in diapers
Therefore...
...you know practically everything about the Measurement Equation!

---
On The Other Hand...
3. The Measurement Equation...
  - [1] never heard of it
  - [1] heard of it
  - [4] know what it looks like, never actually used it
  - [1] know it pretty well
  - [0] I use Jones matrices to do my taxes
Conclusion:
The ME is one of those unknown knowns (the things we don't know we know) that Donald Rumsfeld never got around to explaining.

---
A Wafer-Thin Slice of Physics:
EM field propagation
size 24 { "Pick an " xyz " frame with " z " along the direction of propagation." } newline size 24 { "The EM field can be described by the complex vector "vec e = left ( binom e_x e_y right ) } newline size 24 { ital "The fundamental assumption:" " propagation through a medium " } newline alignl size 24 { "can be fully described by a 2x2 complex " italic "Jones matrix:"} newline vec e' = bold J vec e ~~~"i.e."~~~ size 24 { left ( binom {e'_x} {e'_y} right ) = left ( matrix{<?> # <?> ## <?> # <?>} right ) left ( binom e_x e_y right ) } newline size 24 { "Other assumption: same applies to voltages in the receptors." } newline size 24 { "Obviously cumulative: " vec e' = {bold J}_n ( {bold J}_{n-1} ( ... {bold J}_1 vec e )) = (prod csub {i=n} csup 1 {bold J}_i ) vec e = {bold J} vec e } newline size 24 { "(And do remember that matrices, in general, do not commute.)"}

---
A Wafer-Thin Slice of Physics:
Coherency
size 24 { "An interferometer measures " ital "coherencies" " btw vectors " {vec e}_p,{vec e}_q:} newline size 24 { e_xx = langle e_px e_qx^%star rangle, e_xy = langle e_px e_qy^%star rangle,e_yx = langle e_py e_qx^%star rangle, e_yy = langle e_py e_qy^%star rangle } newline size 24 { "It is convenient to represent these as a matrix product:" } newline size 24 { {bold V}_pq = langle {vec e}_p {vec e}^{%dagger}_q rangle = langle left ( stack{e_px # e_py} right ) (e^%star_qx`e^%star_qy) rangle = left ( matrix{e_xx # e_xy ## e_yx # e_yy} right ) } newline size 24 { "(" langle ` rangle ": time/freq averaging; " %dagger ": conjugate-and-transpose)" } newline size 24 { {bold V}_pq " is also called the " ital "visibility matrix." } newline newline alignl size 24 { italic "Now let's assume that all radiation arrives from a single point," } newline alignl size 24 { italic "and designate the \"source\" E.M. vector by " vec e. }

---
A Wafer-Thin Slice of Physics:
The M.E. Emerges
alignl size 24 { "Antennas " p,q " then measure: " {vec e}_p = {bold J}_p vec e, ~~ {vec e}_q = {bold J}_q vec e } newline alignl size 24 { "where " {bold J}_p,{bold J}_q " are Jones matrices describing the signal paths"} newline alignl size 24 { "from the source to the antennas." } newline size 24 { "Then " {bold V}_pq = langle ({bold J}_p vec e ) ({bold J}_q vec e)^%dagger rangle = langle {bold J}_p (vec e {vec e}^{%dagger} ) {bold J}_q^%dagger rangle = {bold J}_p langle vec e {vec e}^{%dagger} rangle {bold J}_q^%dagger } newline size 20 { "(making use of " (bold AB)^%dagger = {bold B}^%dagger{bold A}^%dagger ", and assuming " {bold J}_p " is constant over " langle rangle ")" } newline size 24 { "The inner quantity is known as the " ital "source coherency" ":" } newline size 24 { bold B = langle vec e {vec e}^%dagger rangle = 1 over 2 left ( matrix {I+Q # U+%i V ## U-%i V # I-Q } right ) ~ %lrarrow ~ (I,Q,U,V) } newline size 24 { "which we can also call the " italic "source brightness." " Thus:" } newline {bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q

---
And That's The Measurement Equation!
{bold V}_pq = {bold J}_p bold B {bold J}^{%dagger}_q
Or in more pragmatic terms:
left ( matrix{XX # XY ## YX # YY} right ) overbrace "measured" = left ( matrix{j_{xx(p)} # j_{xy(p)} ## j_{yx(p)} # j_{yy(p)} } right ) overbrace {size 24 bold J}_p {1 over 2 left ( matrix{I+Q#U+%i V##U-%i V#I-Q} right )} overbrace "source" left ( matrix{j^%star_{xx(q)} # j^%star_{yx(q)} ## j^%star_{xy(q)} # j^%star_{yy(q)} } right ) overbrace {size 24 bold J}^{%dagger}_q
NB: it is also possible to write the ME with a circular polarization basis (RR, LL, etc.) We'll use linear polarization throughout.

---
Accumulating Jones Terms
size 24 { "If " {bold J}_p,{bold J}_q " are products of Jones matrices: " } newline size 24 { {bold J}_p = {bold J}_pn ... {bold J}_p1, ~~ {bold J}_q = {bold J}_qm ... {bold J}_q1 } newline size 24 { "Since " (bold AB)^%dagger = {bold B}^{%dagger}{bold A}^{%dagger}, " the M.E. becomes:" } newline {bold X}_pq = {bold J}_pn ... {bold J}_p2 {bold J}_p1 bold B {bold J}^{%dagger}_q1 {bold J}^{%dagger}_q2 ... {bold J}^{%dagger}_qm newline newline size 24 { "or in the \"onion form\":" } newline newline {bold X}_pq = {bold J}_pn ( ... ( {bold J}_p2 ( {bold J}_p1 bold B {bold J}^{%dagger}_q1 ) {bold J}^{%dagger}_q2 ) ... ) {bold J}^{%dagger}_qm

---
Jones' Anatomy
Jp is “cumulative”: more effects correspond to additional multiplicative Jones terms.
Therefore, the “total” Jp is a matrix product of a “Jones chain” of individual effects:
     Jp = Jpn Jpn-1 ... Jp1
The order of the J terms corresponds to the physical order of the effects. In general, the matrices don't commute!

---
Why is this great?
A complete and mathematically elegant framework for describing all kinds of signal propagation effects.
...including those at the antenna, e.g.:
  - beam & receiver gain
  - dipole rotation
  - receptor cross-leakage
Effortlessly incorporates polarization:
  - think in terms of a B matrix and never worry about polarization again.
Applies with equal ease to heterogeneous arrays, by using different Jones chains.

---
Why is this even greater?
Most effects have a very simple Jones representation:
"gain:" ~ bold G =left ( matrix{g_x # 0 ## 0 # g_y} right ) ~~~~ "phase delay": ~ left ( matrix{e^{-%i %phi} # 0 ## 0 # e^{-%i %phi}} right ) equiv e^{-%i %phi} newline alignc "rotation": ~ left ( matrix{ cos %gamma # -sin %gamma ## sin %gamma # cos%gamma } right ) equiv "Rot"(%gamma) newline [ ~ "e.g. Faraday rotation": ~ bold F = "Rot"("RM" over %nu^2) ~ ] newline alignc "receptor cross-leakage": ~ bold D = left ( matrix{1 # d ## -d # 1} right )

---
ME ME ME
The general formulation above is “The Measurement Equation” (of a generic radio interferometer...)
When we want to simulate a specific instrument, we put specific Jones terms into the ME, and derive a measurement equation for that instrument.
We then implement that specific m.e. in software (e.g. with MeqTrees)
Existing packages implicitly use specific m.e.'s of their own.

---
Observing a point source
with a perfect instrument
size 24 { "Even w/o instrumental effects, we still have geometry, so: " } newline {bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q newline size 24 { {bold K}_p " is the " italic "phase shift" " term, a " ital bold "scalar" " Jones matrix:" } newline size 24 { {bold K}_p = left ( matrix{e^{-%i %phi_p} # 0 ## 0 # e^{-%i %phi_p}} right ) equiv e^{-%i %phi_p} } newline alignl size 24 { italic "Antenna phase " %phi_p " accounts for the pathlength difference: " } newline size 24 { %phi_p = 2%pi (u_p %l + v_p %m + w_p (%n-1)) } newline alignl size 24 { "where " u_p,v_p,w_p " are " ital "antenna coordinates" " (in wavelengths)," } newline alignl size 24 { "and " %l,%m,%n " are the direction cosines for the source."} newline size 20 { ( %n=sqrt {1-%l^2-%m^2} ", for \"small\" fields " n toward 1. ) }

---
The (familiar?)
scalar case
size 24 { "'Classic' (scalar) visibility of a source:"} newline v_pq = I e^{ - %i %phi_pq} newline size 24 { "where " %phi_{pq} " is the " italic "interferometer phase difference:"} newline size 24 { %phi_pq = 2%pi (u_pq %l + v_pq %m + w_pq (%n-1)) } newline newline alignl size 24 { "Baseline coordinates " {vec u}_pq = (u_pq,v_pq,w_pq) } newline size 24 { "have a very simple relationship to antenna coordinates." } newline

---
Antenna UVWs
and Antenna Phase
size 24 { "Pick an arbitrary reference point " O.} newline size 24 { {vec u}_p equiv vec{OP}, ~ {vec u}_q equiv vec{OQ}, ~ {vec u}_pq equiv vec{QP} } newline size 24 { "Then regardless of which " O " we picked,"} newline size 24 { {vec u}_pq = {vec u}_p - {vec u}_q, " i.e." } newline size 24 { u_pq = u_p - u_q,~ v_pq = v_p - v_q,~ w_pq = w_p - w_q} newline size 24 { "and for phases: " %phi_pq = %phi_p - %phi_q. } newline size 24 { drarrow ~ e^{-%i %phi_pq} = e^{-%i(%phi_p-%phi_q)}=e^{-%i%phi_p} e^{%i%phi_q} = e^{-%i%phi_p} (e^{-%i%phi_q})^%star }
{vec u}_pq
Q
P
{vec u}_p
{vec u}_q
size 20 { "(And if you're used to thinking in terms of closure phases:" } newline size 24 { %phi_pq+%phi_qr+%phi_rp = %phi_p-%phi_q+%phi_q-%phi_r+%phi_r-%phi_p = 0 ~ ")" }
O

---
The (familiar?)
scalar case
size 24 { "We can then rewrite: "} newline v_pq = e^{-%i%phi_p}I(e^{-%i%phi_q})^%star newline newline size 24 "compare this to:" newline {bold V}_pq={bold K}_p bold B {bold K}^{%dagger}_q, newline size 24 { "with " ~ bold B = 1 over 2 left ( matrix{I # 0 ## 0 # I} right )}

---
Some Thoughts On The Nature Of K
The phase term is traditionally considered separately; however, it fits the Jones formalism well.
K combines two physical effects:
  - pathlength difference
  - time delay (i.e. fringe stopping)
Scalar matrices commute with everything, so we're allowed to “merge” these two effects. We're also free to shift the resulting K's to any convenient position in the ME.
K is scalar only for co-located receivers:
  - moral: keep your dipoles together!

---
Building a Tree:
Matrix Multiplication
{bold V}_pq = {bold K}_p {bold B} {bold K}^{ %dagger }_q
See Day2/demo1-predict-ps.py
The Meq.MatrixMultiply node implements matrix multiplication.
We repeat this for all interferometers (all p-q pairs), in a for loop.

---
Building a Tree:
Creating a B Matrix
bold B = 1 over 2 left ( matrix{I+Q # U+ %i V ## U - %i V # I-Q} right )
The Meq.Matrix22 shortcut creates a matrix from four children (using a Meq.Composer node).
IQUV's will be hardwired (for now)

---
Building a Tree:
VisPhaseShift
size 24 { %PHI(u,v,w,%l,%m,%n;%nu) = exp(-{{2%pi%i%nu} over c}(u%l+v%n+w%n)) }
The Meq.VisPhaseShift node computes the phase shift term above.
Takes two “vector” children for uvw's (in meters) and lmn's.
The Meq.ConjTranspose shortcut implements the “†” operation.
We can explicitly form up an (l,m,n-1) vector using a Meq.Composer node.
But where do we get the uvw's?

---
Building a Tree:
Where to get meta-data?
Where do uvw's come from?
uvw's can be computed by a Meq.UVW node.
This requires antenna positions, time, and the phase centre RA/Dec:
  - time: comes from the MS grid (via the request)
  - phase centre RA/Dec: from MS sub-tables
  - antenna positions: from MS sub-tables
Don't want to hard-code this stuff, else our script will be tied to a particular MS.
Need a way to get observational parameters from the MS and put them into the tree.

---
Building a Tree:
Attaching an init-script
An init-script is a Python script that is executed on the kernel side by the VisDataMux node. The script name is specified as part of the I/O request.
It can provide a MS header handler (among other things).
The MS header contains all observational parameters.
The header handler can put the required values into “placeholder” nodes (finding them by name).
The same script can be used for all trees, as long as our placeholder nodes follow the same naming convention.
  - i.e. “ra”, “dec” for phase center
  - “x0”, “y0”, “z0” for array center
  - “x:p”, “y:p”, “z:p” for position of antenna #p.
Placeholders are created as constants, e.g. “ns.ra0<<0”.

---
Building a Tree:
Writing the data
VisTile is an intermediate uv data layer (don't want to be locked into MSs forever...)
The I/O record maps MS columns to VisTile
Sinks & Spigots map tile columns to trees
Spigot
Sink
DATA
MS columns
MODEL_DATA
CORRECTED_DATA
??
VisTile
DATA
PREDICT
RESIDUALS
req.input
req.output
Spigot
init
Sink
init

---
Building a Tree:
Ready!
Run the tree by selecting “test forest”
Now we want to make an image.

---
We'll use the
AIPS++ imager...
2. AIPS++...
  - [1] heard of it
  - [2] tried to run it once
  - [1] succeeded in running it once
  - [2] have used it in anger
  - [1] invented it
We have enough expertise in this room...
...and even someone to blame!

---
TDL Jobs:
Doing other useful stuff
_test_forest() is a “TDL job”.
More jobs can be added by defining functions called _tdl_job_foo(), all these will be automatically placed into the “Exec” menu.
Jobs can contain arbitrary Python code...
  - ...including calling the shell...
  - ...e.g. to run Glish and call the AIPS++ imager.
See Day2/demo2-predict-ps-image.py

---
Introducing (Complex)
Gain Errors
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q newline newline {bold G}_p = left ( matrix{g_{x,p} # 0 ## 0 # g_{y,p} } right ) ~~~~~ size 24 { "(" g_x,g_y " may be complex)" } newline newline alignc size 24 "or in scalar form:" newline alignl size 24 { v_{xx,pq} = g_{x,p}g^%star_{x,q}e^{-%i %phi_{pq}} (I+Q)/2 } newline alignl size 24 { v_{yy,pq} = g_{y,p}g^%star_{y,q}e^{-%i %phi_{pq}} (I-Q)/2 } newline alignl size 24 { v_{xy,pq} = g_{x,p}g^%star_{y,q}e^{-%i %phi_{pq}} (U+%i V)/2 } newline alignl size 24 { v_{yx,pq} = g_{y,p}g^%star_{x,q}e^{-%i %phi_{pq}} (U-%i V)/2 }

---
Building a Tree With Gains
See Day2/demo3-predict-ps-gain.py
It's trivial to add extra Jones terms to Meq.MatrixMultiply.
The biggest effort is actually figuring out what numbers to plug in.
  - depends on your simulation objectives
  - Jan has a framework for setting up errors
  - could also come from a parameter DB, or from FITS images/tables.
For now, let's assign a random, time-variable gain-phase to each antenna.

---
Time Variability
On the Cheap
"Something like: " g = e^{%iA sin (Bt+C)}
Remember that we get a “time grid” with each request.
The Meq.Time node returns f(t) = t
Combine with a Meq.Sin node to compute A*sin(Bt+C)
Generate random A,B,C's per dipole (using Python's random module)
Meq.Polar builds x*exp(iy)
Run the tree (load up the “G Jones” bookmark).
Make a map.

---
Some Performance Considerations
{bold V}_pq = {bold G}_p{bold K}_p {bold B} {bold K}^{ %dagger }_q {bold G}^{ %dagger }_q
This does NtimexNfreqx4 individual matrix multiplications.
B is constant, G's are variable in time, and K's are variable in time-freq.
If we reorder the terms as follows (K commutes):
{bold V}_pq = {bold K}_p ({bold G}_p {bold B} {bold G}^%dagger_q) {bold K}^{ %dagger }_q
we end up with Nfreqx2 + NtimexNfreqx2 ops.
Is this a good idea?

---
To Quote Ancient Wisdom...
“Premature optimization is the the root of all evil.”
-- Donald Knuth
“More computing sins are committed in the name of efficiency (without necessarily achieving it) than for any other single reason – including blind stupidity.”
-- W.A. Wulf
Don't worry about optimizing for calculations until you establish that performance is a problem...
...and where the problem lies.
Jones terms don't always commute, so think carefully before moving them around.

---
Exercise 1:
Instrumental Polarization
Use Day2/demo3-predict-ps-gain.py as a starting point.
Make the source unpolarized, with I=1Jy.
Make the gain amplitudes frequency-dependent (and reset the gain phases to 0):
{bold G}_p = left ( matrix{1+a_p(%nu-%nu_0) # 0 ## 0 # 1-a_p(%nu-%nu_0) } right )
Pick random ap's in the range [1e-10,1e-9]
For 0, create placeholder (ns.freq0<<0)
Produce a per-channel map, look at QUV fluxes.

---
Exercise 2:
Alt-Az Mounts
A “perfect” instrument has an equatorial mount, i.e. stationary sky.
With an alt-az mount, the sky rotates relative to each antenna, so we must add a rotation term to our M.E.
{bold V}_pq = {bold G}_p {bold P}_p {bold K}_p {bold B} {bold K}^ %dagger_q {bold P}^%dagger_q {bold G}^%dagger_q newline newline {bold P}_p = left ( matrix { cos %gamma_p # -sin %gamma_p ## sin %gamma_p # cos %gamma_p } right ) equiv "Rot" %gamma_p newline size 24 { %gamma_p: " parallactic angle for antenna " p }

---
Exercise 2:
Alt-Az Mounts
Use Day2/demo3-predict-ps-gain.py as a starting point.
Reset all gains to 1, make source I=1Jy, Q=.2Jy, U=V=0.
Add a P term to model sky rotation.
Produce MFS maps of IQUV flux.
Hint: Meq.ParAngle computes the P.A. as a function of time. It expects a radec child (phase center), and an xyz child (station position).
{bold V}_pq = {bold G}_p {bold P}_p {bold K}_p {bold B} {bold K}^ %dagger_q {bold P}^%dagger_q {bold G}^%dagger_q newline size 24 { {bold P}_p = left ( matrix { cos %gamma_p # -sin %gamma_p ## sin %gamma_p # cos %gamma_p } right ) }

---
Exercise 3:
A Moving Source
Use Day2/demo2-predict-ps-image.py as a starting point.
Make the source move:
left ( stack{%l # %m} right ) = left ( stack{%l_0 # %m_0} right ) + left ( stack{dot %l # dot %m} right ) (t-t_0) newline %l_0=%m_0=0, ~~ dot %l, dot %m = .25'/"hour"
For t0, use a placeholder constant:
(ns.time0 << 0),
the header script will initialize it for you.
Produce an MFS map.

---
Bonus Exercise 4:
Simulating a Transient
Simulate a transient source, make an MFS and a per-channel map.
For bonus points, make the source narrow-band.